## Slide 1: From wastewater treatment to resource utilization
doc. Ing. Jakub Raček, Ph.D.
Energy summit Neum 2024

## Slide 2: Content 01 02 03 04
Introduction, exploitation of selected resources from wastewater
Wastewater Recycling
Wastewater as a source of energy
Exploitation and utilization of nutrients
2

## Slide 3: Introduction 01
Exploitation of selected resources from wastewater
3

## Slide 4: Exploitation of selected resources from wastewater
Recycling of wastewater
Waste water treating for its next utilization
Wastewater – energy source
Exploitation of utilization of energy
Exploitation of utilization of nutrients
Material transformation of sewage sludge
4

## Slide 5: Wastewater Recycling 02
Treating of wastewater for its next utilization
5

## Slide 6: Graywater can generally be defined as slightly polluted wastewater from washing basins, showers, bathtubs, sinks and washing machines
Comparison of gray and black water production from household operations
Average daily water needs from household operations
6

## Slide 7: Reuse of graywater in buildings
Legend: 1-shower, 2-washbasin, 3-washing machine, 4-toilet, 5-cleaning unit for gray and rainwater, 6-rainwater tank, 7-white water intake, 8-safety overflow, 9-sewage connection)
Graywater, according its origin, can be stated as follows:
i) unseparated graywater (i.e. graywater not separated from wash-basins, bathtubs, showers, kitchen sink, etc.),
ii) graywater from wash-basins for washing hands, baths and showers,
iii) graywater from washing machines,
iv) graywater from the kitchen sink, dishwasher,
v) other graywater.
7

## Slide 8: ​Graywater treatment options
.
i) Simple treatment
ii) Physical way of treting
iii) Chemical way of treating
iv) Biological way of treating
v) Natural based way of treating
vi) Combination of processes
8

## Slide 9: Wastewater as a source of energy 03
Exploitation and utilization of energy
9

## Slide 10: Wastewater as a source of thermal energy for households Others Boiling Heating 17% 20% Up to 40% savings 63%
Lightning, cooking, washing, others
The average consumer, especially during showering and bathing, discharges up to 40% of the thermal energy produced in residential buildings into the internal sewage system of buildings
Water boiling
Heating and cooling
Chart: 
| 1. čtvrt. | 2. čtvrt. | 3. čtvrt.
Prodej | 63 | 20 | 17
10

## Slide 11: Extraction and reuse of thermal energy from waste water
1
2
3
4
11

## Slide 12: Decentralized acquisition and use of thermal energy
12

## Slide 13: Example of taking and using thermal energy from the sewage system = centralized solution
13

## Slide 14: Nutrients exploitation and utilization 04
Material transformation of sewage sludge
14

## Slide 15: Sewage sludge treatment
The strategic management of sewage sludge is a highly topical topic not only in the EU...
15

## Slide 16: Material transformation of sewage sludge
The goal is the material transformation of sewage sludge into another usable product in accordance with the principles of the Circular Economy and the idea from waste to product. The means can be pyrolysis / torrefaction of sewage sludge with the implementation of a solid carbonaceous product into the blue-green infrastructure.
16

## Slide 17: Pyrolysis / torrefaction of sewage sludge (SS)
Dried SS (dust composition)
Pelletized SS (pellets dia. 6 or 8 mm)
ii) Pyrolysis oil and iii) pyrolysis gas
Dried SS (noodle-shaped)
Pyrolysis / torrefaction
+additives
i) Solid Carbonaceous Product (SCP), Biochar (BC)
17

## Slide 18: Pyrolysis / torrefaction units at AdMaS BUT Brno
18

## Slide 19: Solid carbonaceous product, biochar after pyrolysis
Biochar
SCP
Biochar
SEM
SS
Input
19

## Slide 20: Thank you for your attention
Any questions ?
Jakub.Racek@vut.cz
+420 604 981 530
https://www.vut.cz/en/people/jakub-racek-81857
20